**Annex C - Camera Network**

|  |  |  |
| --- | --- | --- |
| **Camera**  **Location** | **Camera**  **Type** | **Comments** |
| Main Entrance | Fixed | Similar location as existing Fixed camera |
| Car Park | PTZ | Same location as existing Fixed camera |
| Main Door | Fixed | Same location as existing Fixed camera |
| Gate/ Waiting Area | Fixed | New location |
| Visits | 2 x Fixed | Same location as existing cameras |
| Section ‘A’ Dome | 4 x Fixed | To cover area outside dome |
| Section ‘A’ Corridor | Fixed | Same location as existing camera |
| Section ‘A’ Cell | Fixed | Same location as existing Fixed camera |
| Section ‘A’ Area outside officers station/ Pin Phone & Exit door | Fixed | New location |
| Section ‘A’ Remand Sitting Area | Fixed | Same location as existing camera |
| Section ‘A’ Remand Corridor | 2 x Fixed | Same location as existing cameras |
| PRT | Fixed | New location |
| Dining Room | Fixed | New location |
| Kitchen | Fixed | New location |
| Yard outside Kitchen & Intake | 2 x Fixed | New location (to cover Sally port and Intake door). |
| Section ‘C’ Residential Corridors | 2 x Fixed | Same location as existing cameras |
| Section ‘C’ Group Rooms | 2 x Fixed | New locations |
| Woodwork shop | 2 x Fixed | New locations |
| New Stores area (outdoors to cover between buildings) | Fixed | New location |
| Open area in front of office | Fixed | New location |
| Ladies Playing Field | PTZ | New Location |
| Cnr. Behind Section ‘A’ Remand | 2 x Fixed | New Location |
| Section ‘C’ Gate | 2 x Fixed | New Location |
| Section ‘C’ Garden | PTZ | New Location |